## Comparison
System Parameters
Nominal working pressure (bar) |  | 120
Flow rate (litre/second) |  | 200
Electrical cost (Rand per kWh) |  | 0.77
Working hours per day |  | 24
Pump efficiency (%) |  | 81%
| Hydrocore Valve Set | Competitor (Globe PDV) | Competitor (Ball PDV)
Purchasing Cost | 374490 | 434850 | 419906
Isolating valve Cv | 1464 | 480 | 0
Non-return valve Cv | 2867 | 768 | 768
Hydrocore Valves vs. Competitors
Differential pressure losses (bar) | 0.41111 | 4.2183 | 1.1849
Valve power losses (kW) | 5.9687 | 61.2438 | 17.2033
Annual electrical costs | 40260.3012 | 413101.9519 | 116039.8741
Annual running cost savings |  | 372841.6507 | 75779.573
ROI period (months) |  | 8.1107 | 39.9052
Cost of Hydrocore Valves Set is R374,490 (based on current exchange rate of R13.87/USD)